## Slide 1
Leonam dos Santos Guimarães
Diretor-Presidente
The Costs of
Decarbonisation:
System Costs with High
Shares of Nuclear and
Renewables

## Slide 2: Levelised Cost Of Electricity (LCOE)
gathers all costs, including Capex and Opex, right up to the connection of a new plant to the grid
did not take into consideration the system costs that the community would be required to pay:
  grid enhancements to accommodate production far from consumption;
  balancing due to the intermittence;
  frequency control and electricity backup/storage

## Slide 3: The true costs of decarbonisation
presents the main considerations when assessing choices that would effectively achieve deep decarbonisation - lower than 50gCO2/kWh - of the future electricity system:
  What is the most cost-efficient mix to achieve a decarbonisation target with a given share of VRE?
  Which technologies are available, what are their reasonably expected costs and what are their effects on the overall reliability of the electricity system?
  What policies will lead to the long-term investments that deep decarbonisation requires?

## Slide 4
Eight scenarios to study the cost of low-carbon electricity systems with 50 gCO2 per kWhour
Notes: 4
4

## Slide 5
llustration of system costs
Notes: 5
5

## Slide 6
llustration of system costs
Notes: 6
6

## Slide 7
llustration of system costs
Notes: 7
7

## Slide 8
Capacity mix with different shares of VRE
Notes: 8
8

## Slide 9
Electricity generation share
Notes: 9
9

## Slide 10
System costs per MWh of VRE

## Slide 11
Total cost of electricity provision including all system costs (US billion per year)

## Slide 12
The report makes five main recommendations:
recognise and fairly allocate system costs to the technologies that cause them; foster competitive short-term markets for cost-efficient dispatch of available technologies;
encourage new investment in low carbon technologies by providing stability for investors;
ensure adequate levels of capacity and flexibility, as well as transmission and distribution infrastructure;

## Slide 13
The report makes five main recommendations:
implement carbon pricing, as the most efficient approach for decarbonising the electricity supply.
produce suitable policies for the rapid deployment of all available low-carbon technologies in the most cost-effective manner in order to successfully decarbonise the electricity sector

## Slide 14
My conclusions:
Nuclear power will play a key role in future decarbonised systems.
  While it reliably provides large amounts of dispatchable, low-carbon energy, it faces questions around social acceptance in most countries.
  Nevertheless, this study shows how nuclear power still remains the economically choice to satisfy stringent carbon constraints despite the economic challenges for some new generation reactors.
Nuclear power's cost advantage lies not in its plant-level costs, though competitive. Instead, it resides in its overall benefits to the electricity system.

## Slide 15
My conclusions:
The plant-level costs of VRE have fallen quite impressively
  but its overall costs to the system are not accounted for as its output is clustered during a limited number of high-level hours.
All these factors will come into play in the ultimate choices each country makes.

## Slide 16
You are invited to visit our Nuclear Power Plant
THANK YOU!